## RWH System Sizing
Changes in the formulas give what I think is a better representation of the capabilities of a given RWH configuration.
The calculation for end of month storage now understands that you can't have negative storage or collect more than the size of the tank.
The "Irrigation" computation uses the "rain < inches" value to determine how much water is needed to reach that minimum (up to the "Monthly Outdoor" value).
The two charts have separate rainfall amounts, catchment areas and tank sizes to allow direct comparison of the amount of water available in different configurations.
The total fields at the bottom of some of the columns give a summary of needed and potentially available water amounts.
You should run the figures for succeeding years using the water in storage at the end of each year.
RWH System Sizing Calculator - TWDB |  |  | Storage Starting at |  | 0 | 150 | gal storage |  | actual rain (Paulding County HS 2007/8)
Raw Data (Change to fit your conditions) |  |  |  | Your needs here Indoor demand | Your needs here Irrigation | Total demand | Your Actual monthly rainfall here | Collection surface size | Gallons/ft2 collection coefficient* | Efficiency factor | Potential Rainfall collected (at listed efficiency) |  | End of month storage (starting with water in storage)
Catchment Area (sq. ft.) | 238 |  | January | 0 | 0 | 0 | 2.45 | 238 | 0.62 | 0.85 | 307.2937 | 150 | 150 | 307.2937 | 150
Monthly Indoor (gals) | 0 |  | February | 0 | 0 | 0 | 4.09 | 238 | 0.62 | 0.85 | 512.9923 | 150 | 150 | 820.286 | 150
Monthly Outdoor (gals) | 270 | ** | March | 0 | 270 | 0 | 2.22 | 238 | 0.62 | 0.85 | 278.4457 | 150 | 150 | 1098.7318 | 150
Starting stored water (gal) | 0 |  | April | 0 | 270 | 86.4 | 1.68 | 238 | 0.62 | 0.85 | 210.7157 | 150 | 150 | 1223.0474 | 150
Tank Size (gal) | 150 |  | May | 0 | 270 | 10.8 | 1.96 | 238 | 0.62 | 0.85 | 245.835 | 150 | 150 | 1458.0824 | 150
Irrigate if rain < inches | 2 | *** | June | 0 | 270 | 94.5 | 1.65 | 238 | 0.62 | 0.85 | 206.9529 | 150 | 150 | 1570.5353 | 150
|  |  | July | 0 | 270 | 0 | 5.93 | 238 | 0.62 | 0.85 | 743.7762 | 150 | 150 | 2314.3115 | 150
Notes |  |  | August | 0 | 270 | 0 | 2.62 | 238 | 0.62 | 0.85 | 328.6161 | 150 | 150 | 2642.9276 | 150
* asphalt shingle roof |  |  | September | 0 | 270 | 270 | 0.93 | 238 | 0.62 | 0.85 | 116.6462 | -3.3538 | 0 | 2489.5738 | 150
** 6800 gal for 1" water on 10000 sq ft |  |  | October | 0 | 270 | 0 | 2.63 | 238 | 0.62 | 0.85 | 329.8704 | 329.8704 | 150 | 2819.4442 | 150
(approx 1/4 acre) 0.68 gal/sq.ft. for 1in. |  |  | November | 0 | 0 | 0 | 1.69 | 238 | 0.62 | 0.85 | 211.9699 | 150 | 150 | 3031.4141 | 150
** 270 gal for 1" on 2 flower beds 4 times/month |  |  | December | 0 | 0 | 0 | 4.32 | 238 | 0.62 | 0.85 | 541.8403 | 150 | 150 | 3573.2544 | 150
*** 0 if always watering otherwise water to this total |  |  | Totals |  |  | 461.7 | 32.17 |  |  |  | 4034.9544
|  |  | Storage Starting at |  | 0 | 200 | gal storage |  | actual rain (Paulding County HS 2007)
|  |  |  | Indoor demand | Irrigation | Total demand | Actual rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Potential rainfall collected (at listed efficiency) |  | End of month storage (starting with water in storage)
Tank Size | 200 |  | January | 0 | 0 | 0 | 3.61 | 238 | 0.62 | 0.85 | 452.7879 | 200 | 200
Starting stored water | 0 |  | February | 0 | 0 | 0 | 2.25 | 238 | 0.62 | 0.85 | 282.2085 | 200 | 200
Catchment Area | 238 |  | March | 0 | 270 | 0 | 2.22 | 238 | 0.62 | 0.85 | 278.4457 | 200 | 200
|  |  | April | 0 | 270 | 86.4 | 1.68 | 238 | 0.62 | 0.85 | 210.7157 | 200 | 200
To see what more storage means in the long term, |  |  | May | 0 | 270 | 10.8 | 1.96 | 238 | 0.62 | 0.85 | 245.835 | 200 | 200
put the December "End of month" value in the |  |  | June | 0 | 270 | 94.5 | 1.65 | 238 | 0.62 | 0.85 | 206.9529 | 200 | 200
"Starting stored water" cell and look at the difference. |  |  | July | 0 | 270 | 0 | 5.93 | 238 | 0.62 | 0.85 | 743.7762 | 200 | 200
|  |  | August | 0 | 270 | 0 | 2.62 | 238 | 0.62 | 0.85 | 328.6161 | 200 | 200
|  |  | September | 0 | 270 | 270 | 0.93 | 238 | 0.62 | 0.85 | 116.6462 | 46.6462 | 46.6462
|  |  | October | 0 | 270 | 0 | 2.63 | 238 | 0.62 | 0.85 | 329.8704 | 376.5166 | 200
|  |  | November | 0 | 0 | 0 | 1.69 | 238 | 0.62 | 0.85 | 211.9699 | 200 | 200
|  |  | December | 0 | 0 | 0 | 4.32 | 238 | 0.62 | 0.85 | 541.8403 | 200 | 200
|  |  | Totals |  |  | 461.7 | 31.49 |  |  |  | 3949.6647
Outdoor demand is based upon a small low-water use landscape with minimal handheld irrigation; persons intending to irrigate larger areas or a vegetable garden, will need a larger catchment area and larger storage capacity to accommodate both indoor demand and outdoor irrigation in larger quantities.
Please note that in the Average Rainfall scenario, the water in storage may eventually exceed the capacity of the cistern, which puts an effective limit on the end-of-month storage amount. (fixed in Jan/Feb 2008 version - jec)
This calculator is provided for general guidance only. Design and installation of RWH facilities should be based on site-specific conditions and technical expertise.
Adapted from RWHSystemSizingCalculator.xls at http://groups.yahoo.com/group/rainwaterharvesting/files/
2008-01-28 |  | John Carter |  | ads@wizardanswers.com

## Irrigation Demand Estimates
Example One: Storage Starting at 0 gallons; 12,000 Gallons Available Storage and Average Rainfall (Dallas)
Raw Data (Change to fit your circumstances) |  |  | Square feet of irrigated area |  | Irrigation factor* | Irrigation Demand | Average rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Rainfall collected (85% efficiency) |  | End of month storage (starting with 0 gallons in storage) | PET*.6
Catchment Area (sq. ft.) | 1300 | January | 1000 | 0 | 0 | 0 | 1.97 | 1300 | 0.62 | 0.85 | 1349.647 | 1349.647 | 150 | 1.0251
Irrigated Area (sq. ft.) | 1000 | February | 1000 | 0 | 0 | 0 | 2.4 | 1300 | 0.62 | 0.85 | 1644.24 | 1794.24 | 150 | 1.3686
Tank Size (gals) | 150 | March | 1000 | -0.41589 | 0 | 0 | 2.91 | 1300 | 0.62 | 0.85 | 1993.641 | 2143.641 | 150 | 2.4941
|  | April | 1000 | -0.73326 | 0 | 0 | 3.81 | 1300 | 0.62 | 0.85 | 2610.231 | 2760.231 | 150 | 3.0767
|  | May | 1000 | -0.444 | 0 | 0 | 5.01 | 1300 | 0.62 | 0.85 | 3432.351 | 3582.351 | 150 | 4.566
|  | June | 1000 | 1.8704 | 1.8704 | 1159.6611 | 3.12 | 1300 | 0.62 | 0.85 | 2137.512 | 1127.8509 | 150 | 4.9904
|  | July | 1000 | 2.9081 | 2.9081 | 1803.0253 | 2.04 | 1300 | 0.62 | 0.85 | 1397.604 | -255.4213 | 0 | 4.9481
|  | August | 1000 | 2.6848 | 2.6848 | 1664.6021 | 2.07 | 1300 | 0.62 | 0.85 | 1418.157 | -246.4451 | 0 | 4.7548
|  | September | 1000 | 1.2407 | 1.2407 | 769.2568 | 2.67 | 1300 | 0.62 | 0.85 | 1829.217 | 1059.9602 | 150 | 3.9107
|  | October | 1000 | -0.74895 | 0 | 0 | 3.76 | 1300 | 0.62 | 0.85 | 2575.976 | 2725.976 | 150 | 3.0111
|  | November | 1000 | 0 | 0 | 0 | 2.7 | 1300 | 0.62 | 0.85 | 1849.77 | 1999.77 | 150 | 1.7242
|  | December | 1000 | 0 | 0 | 0 | 2.64 | 1300 | 0.62 | 0.85 | 1808.664 | 1958.664 | 150 | 0.98084
Example Two: Storage Starting at 0 gallons; 12,000 Gallons Available Storage and Median Rainfall (Dallas)
|  |  | Irrigation annual total |  | Irrigation factor* | Irrigation | Median rainfall | Collection surface size | Gallons/ft2 collection coefficient | Efficiency factor | Rainfall collected (85% efficiency) |  | End of month storage (starting with 0 gallons in storage) | PET*.6
|  | January | 1000 | 0 | 0 | 0 | 1.8 | 1300 | 0.62 | 0.85 | 1233.18 | 1233.18 | 150 | 1.0251
|  | February | 1000 | 0 | 0 | 0 | 2.11 | 1300 | 0.62 | 0.85 | 1445.561 | 1595.561 | 150 | 1.3686
|  | March | 1000 | 0.13411 | 0.13411 | 83.1453 | 2.36 | 1300 | 0.62 | 0.85 | 1616.836 | 1683.6907 | 150 | 2.4941
|  | April | 1000 | 0.096737 | 0.096737 | 59.9768 | 2.98 | 1300 | 0.62 | 0.85 | 2041.598 | 2131.6212 | 150 | 3.0767
|  | May | 1000 | 0.296 | 0.296 | 183.52 | 4.27 | 1300 | 0.62 | 0.85 | 2925.377 | 2891.857 | 150 | 4.566
|  | June | 1000 | 2.1404 | 2.1404 | 1327.0611 | 2.85 | 1300 | 0.62 | 0.85 | 1952.535 | 775.4739 | 150 | 4.9904
|  | July | 1000 | 3.3481 | 3.3481 | 2075.8253 | 1.6 | 1300 | 0.62 | 0.85 | 1096.16 | -829.6653 | 0 | 4.9481
|  | August | 1000 | 3.0148 | 3.0148 | 1869.2021 | 1.74 | 1300 | 0.62 | 0.85 | 1192.074 | -677.1281 | 0 | 4.7548
|  | September | 1000 | 1.4107 | 1.4107 | 874.6568 | 2.5 | 1300 | 0.62 | 0.85 | 1712.75 | 838.0932 | 150 | 3.9107
|  | October | 1000 | 0.071053 | 0.071053 | 44.0526 | 2.94 | 1300 | 0.62 | 0.85 | 2014.194 | 2120.1414 | 150 | 3.0111
|  | November | 1000 | 0 | 0 | 0 | 2 | 1300 | 0.62 | 0.85 | 1370.2 | 1520.2 | 150 | 1.7242
|  | December | 1000 | 0 | 0 | 0 | 2.1 | 1300 | 0.62 | 0.85 | 1438.71 | 1588.71 | 150 | 0.98084
Please note that in the median rainfall scenario illustrated, the water in storage may eventually exceed the capacity of the cistern, which puts an effective limit on the end-of-month storage amount.
* Irrigation Factor is cacluated by multiplying average historical potential evapotranspiration by 0.6 (a turf coefficient for warm season turfgrasses) and subtracting rainfall from the result.
Data can be found at http://texaset.tamu.edu/. As an alternative one can use historic data specific to one's own community. A limited dataset is availalble at the TAMU site.
This table is for general guidance only. Site-specific irrigation demands may also be calculated by other methods, or as recommended by local water management professionals.